## Slide 2
Remove protective cap
Insert cassette into analyser
1.
2.
3.
4.
5.
Testing Performing a Test
Move collector in mouth swabbing gums and cheeks on both sides
Sample collection is finished when indicator turns blue
“Click In” buffer cartridge and close flap  Start
Remove test kit after measurement is complete